## Mapping
1 | Lexical as well as conceptual equivalence.
2 | Equivalence of meaning, but (and) that the two concepts are considered synonymous
3 | Source term (ISO) has a broader (less specific meaning) than the target term (SNOMED).
4 | Source term (ISO) is narrower (more specific meaning) than the target term (SNOMED)
5 | No map was possible; term exists in the source vocabulary (ISO), but no term within the target vocabulary (SNOMED)
6 | No map was possible except with the post co-ordination of an existing term and an attribute or qualifier in the target terminology (SNOMED CT)
7 | Source term appears in a different context (with different meaning) in SCT. Needs further definition to find correct term.
8 | New term from IOTA for submission to SCT
9 | Term not in ISO but in IOTA and/or SCT

## ISO 19223_SNOMED map
ID | ISO WD 12993 Term | SCT Concept ID | CONCEPTSTATUS | SCT FULLYSPECIFIEDNAME | CTV3ID | MAP | Comments
4.7.1. | airway | 89187006 |  | airway structure (body structure) |  | 1 | Synonym= airway. Alternately 361380005 entire respiratory airway (body structure) could be considered synonymous with the concept definition
4.7.2 | airway device | 43725001 | 0 | Airway device (physical object) | X79jM | 1
4.2.1 | airway pressure | 250852008 | 0 | Airway pressure (observable entity) | X775N | 1
4.2.24 | airway pressure limit |  |  |  |  | 5 | No concept
4.3.1 | airway pressure release ventilation | 243143008 | 0 | Airway pressure release ventilation (procedure) | X71a9 | 1
4.7.3 | airway resistance | 6304003 |  | airway resistance (observable entity) | x77QA | 1
4.7.4 | artificial ventilation | 40617009 | 0 | Artificial respiration (procedure) | 8721. |  | synonyms include mechanical ventilation, artificial respiration and respiratory assist, mechanical
assist
4.3.2 | assist/control | 243150007 |  | assisted controlled mandatory ventilation (procedure) | X71aG | 4 | term relating to aspect of type 1 mode assist/mandatory ventilation
4.3.3 | assist/mandatory | 243150007 |  | assisted controlled mandatory ventilation (procedure) | X71aG | 2
4.6.1 | auto trigger |  |  |  |  | 5 | No concept
4.7.5 | automatic ventilation |  |  |  |  | ?5 | Probably would be considered within the scope of 40617009 (see 4.7.4) as includes mechanical ventilation. A formal expression could be artificial respiration using direct device = xxxxxx
see 4.5.12 | autoPEEP / intrinsic PEEP | [5 empty] | No concepts. Deprecated terms
4.3.4 | backup ventilation/ apnea ventilation |  |  |  |  | 5 | No concept
4.2.2 | BAP - baseline airway pressure |  |  |  |  | 5 | No concept
4.5.4 | BAP phase time |  |  |  |  | 5 | No concept
4.5.6 | BAPh phase time |  |  |  |  | 5 | No concept
4.2.8 | BAPh - elevated baseline airway pressure |  |  |  |  | 5 | No concept
4.5.1 | baseline airway pressure | 250852008 |  | airway pressure (observable entity) |  | 4
4.5.3 | baseline-airway-pressure phase, BAP phase |  |  |  |  | 5 | No concpet
4.4.3 | bi-active pressure-regulator function |  |  |  |  | 5 | No concept. Machine focussed term
4.2.3 | bias flow |  |  |  |  | 5 | No concept
4.3.5/ 4.5.7 | bi-level BAP / bi level mode |  |  |  |  | 5 | No concept
4.3.6 | bi-level PAP / bi level positive airway pressure | 243142003 |  | dual pressure spontaneous ventilation support (regime/therapy) |  | 2 | SNOMED synonyms include bi-level positive airways pressure therapy
4.4.1 | breath | 11891009 | 0 | Breath (substance) | XU4kS | 7 | SNOMED synonym ="respiratory air"
4.6.2 | breath stacking |  |  |  |  | 5 | No concept
4.4.2 | breathe | 78064003 |  | respiratory function (observable entity) | XUKr0 | 3 | SNOMED synonym = breathing
4.5.8 | concurrent breath |  |  |  |  | 5 | No concept. There is a snomed qualifier "concurrent)
4.3.7 | CMV continuous mandatory ventilation | 243148004 |  | controlled mandatory ventilation (procedure) |  | 2
4.3.8 | CPAP continuous positive airway pressure | 47545007 |  | continuous positive airway pressure ventilation treatment (regime/therapy) | X71a7 | 2
4.3.9 | CSV continuous spontaneous ventilation | 243141005 |  | mechanically assisted spontaneous ventilation (procedure) |  | 4 | ventilator-mode pattern that facilitates continuous, assisted spontaneous breathing with a constant set BAP. The SNOMED term has one descendant concept dual pressure spontaneous ventilation support
4.2.4 | decelerating flow |  |  |  |  | 5 | No concept
4.2.5 | declining flow |  |  |  |  | 5 | No concept
| delivered ventilation | [5 empty] | ? 397802005 minute ventilation (finding)
4.2.6 | delivered volume | 250816009 |  | spontaneous tidal volume (observable entity) |  | 2 | This item could cause confusion in naming - delivered implies delivered rather than "patient controlled" spontaenous breath as in the definition
4.2.7 | demand flow |  |  |  |  | 5 | No concept
4.4.5 | dual-control inflation |  |  |  |  | 5 | No concept
4.5.10 | dynamic PEEP |  |  |  |  | 5 | No concept. Intrinsic PEEP does not exist as a SNOMED concept
4.2.9/ 4.5.9 | EEP - end expiratory prssure | 250853003 |  | end-expiratory pressure (observable entity) |  | 1
4.2.8 | elevated baseline airway pressure/BAPh |  |  |  |  | 5 | only SNOMED concept 405495005 high airway pressure (finding)
4.5.5 | elevated baseline pressure phase |  |  |  |  | 5 | No concept
4.8.6 | emergency ventilator |  |  |  |  | 5 | No concept
4.2.10 | end inflation flow |  |  |  |  | 5 | No concept
4.2.11 | end inflation pressure |  |  |  |  | 5 | No concept
4.1.6 | EEP - end-expiratory pressure | 250853003 | 0 | End-expiratory pressure (observable entity) | X775O | 1
4.4.6 | enhanced pressure-control inflation/ ePC inflation |  |  |  |  | 5 | No concept
4.1.7 | exhalation | 58322009 | 0 | Expiration (observable entity) | X78ue | 4 | "The words exhalation and expiration are generally interchangeable, with respect to natural breathing, in common usage, whereas different forms of the terms inspiratory and expiratory have become almost universally used when describing ventilator modes. In order to establish the clear distinction between ventilator functions and patient activity, as being emphasised in the terminology of this standard, references to patient activity when describing ventilator function are restricted to forms of the term exhalation."
4.1.17 | exhaled minute ventilation |  |  |  |  | 5 | minute ventiation 397802005 has no child concepts
4.1.18 | exhaled tidal volume |  |  |  |  | 5 | S= expiratory. ISO concept specifies ventilator phase
4.1.8 | expiratory | 58322009 | 0 | Expiration (observable entity) | X78ue | 4 | see text in 4.1.7
4.1.9 | expiratory flow time | 250820008 |  | Expiratory time (observable entity) | X774s | 5 | No concept
4.1.10 | expiratory hold |  |  |  |  | 5 | No concept
4.1.11 | expiratory hold time |  |  |  |  | 5 | No concept
4.1.12 | expiratory pause |  |  |  |  | 5 | No concept
4.1.13 | expiratory pause time |  |  |  |  | 5 | phase of respiration(attribute) has no child concepts
4.1.14 | expiratory phase |  |  |  |  | 5 | No concept
4.1.15 | expiratory pressure |  |  |  |  | 5 | No concept
4.2.12 | expiratory pressure |  |  |  |  | 5 | No concept (there is an SCT concpet for peak expiratory pressure
4.1.16 | expiratory time | 250820008 | 0 | Expiratory time (observable entity) | X774s
| expiratory valve |  |  |  |  | 5 | No concept
4.5.2 | expiratory-control algorithm |  |  |  |  | 5 | No concept
4.2.13 | expiratory-pressure relief |  |  |  |  | 5 | No concept
4.6.3 | flow termination |  |  |  |  | 5 | No concept
4.6.4 | flow trigger | 281408006 |  | flow triggering (qualifier value) |  | 4
flow-control function
flow-control inflation
4.4.7 | flow regulator function |  |  |  |  | 5 | No concept. Machine focussed concept
| frequency (to be deprecated) | 260864003 |  | frequency (attribute) |  | 4 | The SNOMED concept has a wider meaning - parent term is temporal relationship
4.9.1 | fresh gas |  |  |  |  | 5 | No concept. There is SNOMED term 250849000 fresh gas flow (observable entity)
4.9.2 | fresh gas intake port |  |  |  |  | 5 | No concept
4.9.3 | gas exhaust port |  |  |  |  | 5 | No concept
4.9.4 | gas output port | 257463002 |  | ventilator outlet (physical object) |  | 2
4.9.5 | gas return port | 289972000 |  | ventilator expiratory port (physical object) |  | 2
4.2.14 | high-pressure release limit |  |  |  |  | 5 | No concept
4.2.15 | high-pressure alarm limit |  |  |  |  | 5 | No concept
4.9.6 | high pressure gas input port |  |  |  |  | 5 | No concept
4.8.2 | home care ventilator for ventilator dependent patient |  |  |  |  | 5 | Note a procedure term exists in SNOMED 276737004 domiciliary ventilation (procedure)
4.8.3 | home care ventilatory support device for non ventilator dependent patient |  |  |  |  | 5 | Would domiciliary CPAP devices be included in this category?
4.1.20 | inflation | 119268003 | 0 | Inflation (procedure) | XU4qW | 4 | This term is not specific to respiration, but a parent term for a number of inflation procedures in medicine - inflation in itself is not a term unique to respiratory manoeuvres
4.1.24 | inflation flow time |  |  |  |  | 5 | No concept
4.1.28 | inflation hold |  |  |  |  | 5 | No concept - unclear in what way this concept is semantically different from 4.1.27 inspiratory hold
4.6.5 | inflation instigation |  |  |  |  | 5 | No concept
4.1.26 | inflation flow pause |  |  |  |  | 5 | No concept
4.1.30 | inflation phase |  |  |  |  | 5 | No concept
4.2.16 | inflation pressure |  |  |  |  | 5 | No concept. SNOMED includes inspiratory pressure terms
4.2.18 | inflation pressure relief |  |  |  |  | 5 | No concept
4.1.32 | inflation time |  |  |  |  | 5 | No concept
4.1.21 | inflation type | [5 empty] | No concept
4.1.23 | inflation/BAP time ratio |  |  |  |  | 7 | The current SNOMED terms would principally apply to time periods ratios in controlled respiration
4.1.22 | inspiratory/expiratory phase time ratio | 250822000 |  | inspiration/expiration time ratio (observable entity) |  | 2
4.1.27 | inspiratory hold |  |  |  |  | 5 | No concept
4.1.25 | inspiratory pause | 250821007 |  | inspiratory pause time (observable entity) | X774t
4.1.29 | inspiratory phase |  |  |  |  | 5 | No concept
4.1.31 | inspiratory time | 250819002 | 0 | Inspiratory time (observable entity) | X774r | 1
105 | inspired minute ventilation |  |  |  |  | 5 | No concept - SNOMED only has 397802005 minute ventilation (finding)
106 | inspired tidal volume
4.1.19 | inspired/ inspiratory | 14910006 |  | inspiration (observable entity) | X7A2w | 2
107 | instigation
4.7.6 | intermittent elevated-pressure ventilation / IEPV/ positive pressure ventilation | 182687005 |  | intermittent positive pressure ventilation (procedure) | 8723 | 2
4.3.10 | IMV intermittent mandatory ventilation | 55089006 | 0 | Inspiration mandatory ventilation therapy, initiation and management (procedure) | X71aH | 1 | SNOMED Synonyms include IMV- intermittent mandatory ventilation
4.7.8 | limit |  |  |  |  | 5 | No concept
4.9.7 | low pressure gas input port |  |  |  |  | 5 | No concept
4.7.7 | lung | 181216001 |  | entire lung (body structure) | 7N225 | 1 | Synonym = lung
4.6.6 | mandatory |  |  |  |  | 5 | No as a specific SNOMED concept. There is a problem in the wider use of language in trying to define this term purely in respect of ventilation.
4.6.7 | mandatory inflation |  |  |  |  | 5 | No concept
4.2.18 | maximum limited airway pressure |  |  |  |  | 5 | No concept. Machine focussed term
4.2.19 | maximum working pressure |  |  |  |  | 5 | Machine setting concept
4.7.9 | mechanical ventilation | 40617009 |  | artificial respiration (procedure) |  | 1 | see 4.7.5 automatic ventilation (Syn= Mechancal ventilation
| minute ventilation | 397802005 |  | minute ventilation (finding) |  | 1
4.3.11 | MMV minimum minute volume | 243151006 |  | mandatory minute volume ventilation (procedure) | X71aJ | 2 | See 4.3.11 note 2 - Need for additional or replacement SNOMED CT concept
4.4.13 | natural breathing | 22803001 |  | normal respiratory function (finding) |  | 2 | synonym = normal breathing
4.7.10 | negative pressure ventilation | 243159008 |  | intermittent negative pressure ventilation (procedure) |  | 3
4.7.11 | non invasive ventilation | 428311008 |  | noninvasive ventilation (procedure) |  | 1
4.8.8 | operator powered resuscitator | 75751006 |  | manual respirator, device (physical object) |  | 2 | There is also 371785003 "ambu bag"
4.4.14 | patient breathing activity | 258162000 |  | inhaling and exhaling (observable entity) |  | 2 | synonym= breathing
4.7.12 | patient connection port |  |  |  |  | 5 | no concept
4.4.15 | patient's inspiratory effort | 14910006 |  | inspiration (observable entity) |  | 3 | SNOMED is a patient focussed terminology therefore authoring conventions generally exclude specification of "patient"
4.2.20 | peak inflation airway pressure | 27913002 |  | maximum inspiratory pressure (observable entity) |  | 2
4.2.21 | peak airway pressure |  |  |  |  | 5 | SNOMED only defines peak inspiratory and expiratory pressures
4.1.2 | patient-triggered rate | 250876000 |  | triggered breath rate (observable entity) | X775n | 4
4.1.33 | phase time ratio |  |  |  |  | 5 | No concept
4.4.8 | positive pressure lung inflation |  |  |  |  | 5 | No concept
4.2.22/4.5.11 | PEEP - positive end expiratory pressure | 250854009 |  | positive end expiratory pressure (observable entity) |  | 1
4.2.23 | plateau airway pressure | 264907004 |  | plateau pressure (qualifier value) |  | 4 | SNOMED concept applies to all plateau pressures
4.7.13 | pre-set value / pre set |  |  |  |  | 5 | No concept
4.4.11 | pressure support / pressure support inflation / PS inflation | 243144002 | 0 | Patient triggered inspiratory assistance (procedure) | X71aA | 2 | Synonyms include "inspiratory assist" and "pressure support"
4.6.8 | pressure trigger | 281409003 |  | pressure triggering (qualifier value) |  | 4 | not specific to ventilation in the SNOMED concept
4.4.10 | pressure-control inflation / pressure control | 286812008 |  | pressure controlled ventilation (procedure) |  | 3 | SNOMED term refers to continuous concept rather than a pressure controlled inflation
4.4.9 | pressure regulator function |  |  |  |  | 5 | No concept
4.3.12 | primary inflation |  |  |  |  | 5 | No concept
4.4.16 | proportional-pressure-support inflation /pPS inflation |  |  |  |  | 5 | No concept
4.6.9 | remote inflation initiation |  |  |  |  | 5 | No concept
4.6.10 | respiratory activity |  |  |  |  | 5 | concept seems ambiguous in name and definition
4.1.34 | respiratory cycle / cycle |  |  |  |  | 5 | No concept (there is a SCT concept 272517003 respiratory cycle point)
4.1.35 | respiratory period |  |  |  |  | 5 | No concept
4.7.14 | respiratory system | 278197002 |  | entire respiratory system (body structure) |  | 1 | synonym = respiratory system
4.4.17 | respiratory system constants | 251880004 |  | respiratory measure (observable entity) |  | 4 | Note the measures within this concept are not constants, but change breath to breath
4.4.18 | rise time / Pressure rise time |  |  |  |  | 5 | No concept
4.7.15 | set |  |  |  |  | 5 | No concept
4.2.25 | set inflation pressure |  |  |  |  | 5 | No concept
4.4.19 | simultaneous breathing |  |  |  |  | 5 | No concept
4.8.4 | sleep apnoea breathing therapy device |  |  |  |  | 5 | No device concept. A number of SNOMED concepts relating to CPAP therapy
4.8.5 | self adjusting sleep apnoea breathing therapy device |  |  |  |  | 5 | No concept
4.4.20 | spontaneous breath | 258160008 |  | inhaling (observable entity) |  | 4
4.1.1 | spontaneous breath rate | 271625008 | 0 | Rate of spontaneous respiration (observable entity) | XM01p | 2
| support | 9096001 | 0 | Support, device (physical object) | XUNTy
| support | 243114000 | 0 | Support (regime/therapy) | X71Fv
| support | 389949001 | 2 | Support (regime/therapy) | .8O8.
| support pressure | [5 empty] | concept seems ambiguous in name and definition
4.6.12 | synchronisation window |  |  |  |  | 5 | No concept
4.6.11 | synchronisation |  |  |  |  | 5 | No concept
4.3.13 | SIMV synchronised intermittent mandatory ventilation | 59427005 | 0 | Synchronized intermittent mandatory ventilation (procedure) | X71aI | 1
4.6.13 | termination | 360239007 |  | termination - action (qualifier value) |  | 4 | Snomed term is a general modifier/qualifier. Potential for ambiguity using a term that has wider general meaning than that used in the standard
| tidal volume B (to be added) | 13621006 |  | tidal volume (observable entity) |  | ? | ? What does the B refer to?
| time ratio | 118576005 | 0 | Time ratio (property) (qualifier value) | XU4fB
4.1.3 | total respiratory rate | 250810003 |  | total breath rate (observable entity) |  | 2
4.5.12 | total PEEP /tPEEP |  |  |  |  | 5 | No concept
4.8.7 | transport ventilator |  |  |  |  | 5 | No concept
4.6.14 | trigger | 410658008 | 0 | Provoked by (attribute) | XUcBA | 4 | Snomed term is a general modifier/qualifier - synonym concepts include trigger and triggered by.Potential for ambiguity using a term that has wider general meaning than that used in the standard
4.6.15 | trigger event / patient trigger event |  |  |  |  | 5 | There is a snomed concept for "flow triggering" and an attribute concept for 281407001" triggering mode"
4.7.17 | tube compensation / TC |  |  |  |  | 5 | no concept
4.4.12 | volume control inflation VC inflation - volume control | 260973005 |  | volume control (attribute) | X906a | 4 | also 405609003 volume controlled ventilation (procedure) would refer to continuous process rather than a single inflation
4.7.18 | ventilation | 45444009 | 0 | Ventilation, function (observable entity) | XUEPo | 1 | Snomed preferred term = "ventilation"
4.8.1 | ventilator / lung ventilator | 449071006 | 0 | mechanical ventilator (physical object) | XUA0h | 2 | note "ventilator" in SNOMED used to refer to household ventilator
4.7.19 | ventilator breathing system | 289969007 |  | breathing circuit equipment (physical object) | Xa4fS | 4 | Note - the SNOMED approach to breathing systems classifies them by system type (Mapleson etc) rather than whether used for a ventilator or otherwise. Also has terminology for circuit components
4.1.4 | ventilator initiated rate | 25087600 |  | ventilator rate (observable entity) | X775n | 4 | would probably require further SNOMED terms to differentiate 4.1.4 and 4.1.5
4.3.14 | ventilator mode |  |  |  |  | 5 | No concept
4.1.5 | ventilator set rate | 25087600 |  | ventilator rate (observable entity) | X775n | 4 | consider mandatory breath rate 250877009
4.3.17 | ventilator-mode Group (i) |  |  |  |  | 5 | No concept
4.3.18 | ventilator-mode Group (ii) |  |  |  |  | 5 | No concept
4.3.19 | ventilator-mode Group (iii) |  |  |  |  | 5 | No concept - ? Naming in 19223
4.3.20 | ventilator mode Group (iv) |  |  |  |  | 5 | No concept - ? Naming in 19223
4.3.16 | ventilator-mode groups |  |  |  |  | 5 | No concept
4.3.15 | ventilator-mode pattern |  |  |  |  | 5 | No concept
| ventilatory period |  |  |  |  | 5 | No concept
4.4.21 | volume targeted |  |  |  |  | 5 | No concept
4.4.4 | Δp delta pressure |  |  |  |  | 5 | No concept

## Mode Patterns
ID | ISO WD 12993 Term | SCT Concept ID | CONCEPTSTATUS | SCT FULLYSPECIFIEDNAME | CTV3ID | MAP | Comments
Group (i) modes
| CMV - continuous mandatoy ventilation | 243148004 |  | controlled mandatory ventilation (procedure) |  | 2
| A/MV assist mandatory ventilation | 243150007 |  | assisted controlled mandatory ventilation (procedure) |  | 2
Group (ii) modes
| IMV - intermittent mandatory ventilation | 55089006 |  | inspiration mandatory ventilation therapy, initiation and management (procedure) |  | 1 | synonyms include IMV - Intermittent mandatory ventilation
| SIMV synchronised intermittent mandatory ventilation | 59427005 |  | synchronized intermittent mandatory ventilation (procedure) |  | 1 | synonyms include SIMV - Synchronized Intermittent mandatory ventilation
Group (iii) modes
| CSV - continuous spontaneous ventilation |  |  |  |  | 5 | No concept
| CPAP - Continuous positive airway pressure | 47545007 |  | continuous positive airway pressure ventilation treatment (regime/therapy) |  | 2 | synonyms include CPAP - Continuous positive airways pressure
Group (iv) modes
| Bi level BAP | 243142003 |  | dual pressure spontaneous ventilation support (regime/therapy) |  | 2? | synonyms include BIPAP - Biphasic pressure airway support
| APRV - airway pressure release ventilation | 243143008 |  | airway pressure release ventilation (procedure) |  | 1
| MMV-minimum minute ventilation | 243151006 |  | mandatory minute volume ventilation (procedure) |  | 2
| Smart Care |  |  |  |  | 5 | No concept
| PAV proportional pressure support |  |  |  |  | 5 | No concept - there is a concept 76777009 artificial respiration by electrophrenic stimulation (procedure)
| NAVA |  |  |  |  | 5 | No concept
| Dual modes |  |  |  |  | 5 | No specific dual mode concepts